SH21789 Automatic Abel closed flash point tester

SH21789 Automatic Abel closed flash point tester is designed and manufactured according to the requirements of the national standard GB/21789 "Determination of flash point of petroleum products and other liquids (Abel closed cup method)" and ISO13736.

Automatic Abel Closed Cup Flash Point Tester

Automatic Closed up Flash Point Testing Machine Oil Flash Point Tester Digital Abel Flash Point Apparatus

ISO13736  Automatic Abel Closed Cup Flash Point Tester

Automatic Abel Closed Cup Flash Point Tester

Automatic Abel Closed Cup Flash Point Tester ISO 13736

It is suitable for the determination of petroleum products and other liquids in the range of -30℃ ~ 70℃.

Instrument features: embedded system design, using imported PT100 temperature sensor, automatic detection throughout the test;

Abel Fully Automatic Type Closing Cup Flash Point Tester of Diesel Oil

Color touch screen;

The test results can be stored;

You can view historical data;

Printing results on the instrument, mechanical automatic mixing,

II. Main technical parameters

| Applicable standards | GB/T21789, ISO13736 IP170 |
| --- | --- |
| Test range | -30℃ ~ 80℃ |
| Temperature detection | platinum resistance (PT100) |
| Display mode | Seven-inch touch screen |
| Cooling method | compressor cycle refrigeration |
| Heating rate | 1℃/min |
| Display accuracy | 0.1℃ |
| Mixing speed | 0.5r/s(30r/min) |
| Host power consumption | 1800W; |
| Low temperature circulating refrigerator | ≤1200W |
| Power supply | AC 220V±10%, 50Hz |
| Ambient temperature | 10-40℃ |
| Relative humidity | ≤80%RH |
| Abel flash point size: 490*450*580mm Weight: 40kg |  |
| Packing Abel flash point size: 560*550*680mm Weight: 45kg |  |

Packing list

| S/N | NAME | UNIT | Quantity | remarks |
| --- | --- | --- | --- | --- |
| 1 | host | set | 1 |  |
| 2 | Fuse | piece | 1 |  |
| 3 | Test cup | piece | 1 |  |
| 4 | Test cup cover | set | 1 |  |
| 5 | temperature sensor | piece | 1 |  |
| 6 | Directions | copy | 1 |  |
| 7 | Packing list | copy | 1 |  |
| 8 | Certificate warranty card | copy | 1 |  |